SCOPE OF WORK (SOW)
Computerized Maintenance Management System (CMMS)
Module: Maintenance Management

Document Version: 1.0
Date: 05 July 2026

## TABLE OF CONTENTS

- INTRODUCTION
1.1 Purpose
1.2 Project Background
1.3 Scope Overview

- SYSTEM OBJECTIVES AND OVERVIEW
2.1 Core Objectives
2.2 User Roles and Permissions

- FUNCTIONAL REQUIREMENTS
3.1 Master Data Management
3.1.1 Functional Locations
3.1.2 Equipment Master
3.1.3 Work Centers & Maintenance Teams
3.1.4 Failure Codes, Cause Codes & Task Lists
3.1.5 Material / Spare Parts Catalog
3.2 Notification Management
3.2.1 Notification Types and Lifecycle
3.2.2 Creation and Processing
3.2.3 Linking to Work Orders
3.3 Work Order Management
3.3.1 Work Order Types
3.3.2 Work Order Lifecycle and Statuses
3.3.3 Work Order Details & Operations
3.3.4 Material Planning & Consumption
3.3.5 Labour Recording
3.3.6 External Services & Other Costs
3.3.7 Safety Permits & Checklists
3.3.8 Attachments, Comments & Audit Trail
3.4 Preventive Maintenance
3.4.1 Maintenance Plans & Strategies
3.4.2 Scheduling (Time-based / Meter-based)
3.4.3 Automatic Generation & Call Horizon
3.5 Cost Management
3.5.1 Planned vs. Actual Cost Tracking
3.5.2 Cost Components
3.5.3 Cost Reporting Dimensions
3.6 History, Logs & Audit
3.7 Reporting & Dashboards
3.8 Alerts & Notifications (System-Generated)
3.9 Mobile Access Requirements
3.10 Integration Points

- NON-FUNCTIONAL REQUIREMENTS
4.1 Performance & Scalability
4.2 Security & Access Control
4.3 Data Integrity, Backup & Recovery
4.4 Usability & Accessibility
4.5 Regulatory & Standards Compliance
4.6 System Availability

- TECHNICAL ARCHITECTURE & DATABASE DESIGN
5.1 High-Level Architecture
5.2 Technology Stack (Recommended, Vendor-Neutral)
5.3 Database Design (Key Tables & Relationships)
5.4 API Specifications
5.5 Authentication & Authorization
5.6 Deployment Architecture
5.7 Data Migration Strategy

- PROJECT DELIVERABLES
6.1 Software & Source Code
6.2 Documentation
6.3 Training

## 1. INTRODUCTION

### 1.1 Purpose

This Scope of Work (SOW) describes in detail all activities, deliverables, and technical specifications required to design, develop, test, deploy, and support a Computerized Maintenance Management System (CMMS) module. The document is intended to be handed to a qualified third-party software vendor/development team so that they can prepare a firm, fixed-price proposal and execute the project without requiring any clarification from the Client.

### 1.2 Project Background

The Client currently manages maintenance activities through a mix of paper forms and standalone spreadsheets, resulting in poor data visibility, unplanned downtime, and inefficient cost tracking. The goal is to replace these processes with a modern, web-based CMMS that centrally manages:

- Functional locations (plant hierarchy)

- Equipment master records

- Notifications (malfunction, maintenance requests)

- Work orders (corrective, preventive, predictive, emergency, calibration)

- Labour, material, and service costs

- Complete historical records and audit trails

- Reporting and KPI dashboards

### 1.3 Scope Overview

The Vendor shall deliver a fully functional, production-ready CMMS module that covers the entire maintenance management lifecycle, from master data setup through work order closure and cost analysis. The system must be web-based, support mobile browsers/tablets, and be capable of integrating with an existing ERP (details in §3.10). The scope includes:

- Requirements validation, UX/UI design, development, testing (unit, integration, UAT support)

- Database design and implementation

- Data migration from legacy Excel/paper records (the Client will provide digitized data)

- User and administrator documentation

- Training for key users and IT staff

- Three (3) months of warranty support post go-live

## 2. SYSTEM OBJECTIVES AND OVERVIEW

### 2.1 Core Objectives

- Centralized Asset Register – Maintain a multi-level hierarchy of functional locations and equipment with all technical attributes.

- Structured Work Management – Support end-to-end work order processes: identification, planning, scheduling, execution, completion, and closure.

- Proactive Maintenance – Enable time-based and meter-based preventive maintenance with automatic generation of notifications/work orders.

- Cost Transparency – Capture planned and actual labour, material, and external service costs against work orders, equipment, and locations.

- Full Traceability – Immutable log of every status change, field modification, and user action.

- Reporting & KPIs – Out-of-the-box reports for backlog, compliance, MTBF, MTTR, maintenance cost per asset/location, etc.

### 2.2 User Roles and Permissions

The system shall implement role-based access control (RBAC) with at least the following predefined roles. Additional custom roles must be definable.

- Administrator – Full system configuration, user management, master data maintenance, bulk import/export.

- Maintenance Planner – Create/plan work orders, manage maintenance plans, assign resources, view all data.

- Maintenance Supervisor – Approve work orders, review completed work, run reports.

- Technician – View assigned work orders, record labour and materials, change work order status within allowed transitions, raise notifications.

- Requester (Operator) – Create notifications (malfunction reports), view status of their requests.

- View-Only / Auditor – Read access to all master data, work orders, history, and reports.

## 3. FUNCTIONAL REQUIREMENTS

### 3.1 Master Data Management

#### 3.1.1 Functional Locations

- Hierarchy: multi-level tree with unlimited depth (e.g., Plant → Area → Unit → Sub-unit).

- Key fields: Location Code (unique, manual or auto), Description, Parent Location, Location Type (e.g., Plant, Area), Operational Status (Active/Inactive), Installation Date, GPS Coordinates, Safety Critical flag.

- Functionality:

  - Drag-and-drop restructuring of the hierarchy.

  - Display of all equipment installed at a location.

  - Display of open work orders and notification count for each node.

  - Full audit trail on changes.

#### 3.1.2 Equipment Master

- Each equipment record must be assigned to exactly one functional location (lowest level).

- Key fields: Equipment Code (unique, user-defined or auto-generated), Name, Description, Manufacturer, Model, Serial Number, Asset Tag, Equipment Class (e.g., Pump, Motor, Conveyor), Criticality (A/B/C), Installation Date, Warranty Expiry, Operational Status (Active, Inactive, Decommissioned), Technical parameters (extensible key-value attributes).

- Bill of Materials (BOM): Associate spare parts (from material catalog) with an equipment.

- Documents: Attach manuals, datasheets, certificates.

- Meter/Reading points: Define meters (e.g., running hours, cycles, mileage) with unit of measure, reading entry history.

#### 3.1.3 Work Centers & Maintenance Teams

- Define work centers (e.g., Mech-Workshop, Elec-Team) with capacity (hours/day), cost rate per hour (used for planned cost calculation).

- Assign crafts/skills (e.g., Fitter, Electrician, Welder) to each work center, each with its own hourly rate.

- Work centers and crafts are used for scheduling and cost estimation.

#### 3.1.4 Failure Codes, Cause Codes & Task Lists

- Failure Codes: Hierarchical code groups (e.g., Mechanical → Vibration → Misalignment).

- Cause Codes: root cause categories (e.g., Wear & Tear, Operator Error, Design Defect).

- Task Lists: Reusable sets of operation steps associated with an equipment class or specific equipment, including estimated labour hours, craft, and required materials. Work orders can copy operations from a task list.

#### 3.1.5 Material / Spare Parts Catalog

- Simple material master (if not integrated with external ERP inventory): Material Code, Description, Unit of Measure, Standard Cost, Current Stock (optional, if inventory is managed inside CMMS).

- Ability to link materials to equipment BOM and work order operations.

### 3.2 Notification Management

#### 3.2.1 Notification Types and Lifecycle

- Types: Malfunction Report (M1), Maintenance Request (M2), Completion Confirmation (M3) – the latter auto-generated when a work order is completed.

- Lifecycle Statuses:

  - Malfunction/Request: Open → In Process → Completed → (optional) Converted to WO.

  - Completion Notification: Created → (automatic).

#### 3.2.2 Creation and Processing

- Any authenticated user can create a notification.

- Key fields: Notification Number (auto), Type, Priority (High, Medium, Low), Functional Location / Equipment (mandatory selection), Reported By, Date & Time, Description, Breakdown indicator (Yes/No), Damages/observations.

- Ability to attach photos directly from mobile device.

- Notification can be converted into a Work Order (one-to-one or multiple notifications aggregated into one WO). If breakdown is Yes, the resulting WO must be marked as Emergency type automatically.

#### 3.2.3 Linking to Work Orders

- A notification can be linked to one or more work orders. The system must show the relationship and allow navigation between them.

- After work order completion, the notification status can be set to Completed manually or automatically.

### 3.3 Work Order Management

#### 3.3.1 Work Order Types

- Corrective (CM): repair after failure/defect.

- Preventive (PM): generated from a maintenance plan.

- Predictive (PdM): based on condition monitoring, manual creation.

- Emergency (EM): breakdown with immediate action; automatically sets highest priority.

- Calibration (CAL): specific to measuring instruments, with pass/fail tracking.

#### 3.3.2 Work Order Lifecycle and Statuses

Mandatory status flow (with allowed transitions):

| Status | Allowed Transitions | Description |
| --- | --- | --- |
| Draft | Planned, Cancelled | Initial creation, not yet planned. |
| Planned | Scheduled, Draft | Resources, materials, tasks assigned. |
| Scheduled | In Progress, Planned, Cancelled | Dates finalized and crew assigned. |
| In Progress | Completed, Suspended | Work being executed. |
| Suspended | In Progress, Cancelled | Temporarily halted. |
| Completed | Closed (system-generated closure after review or by Supervisor) | Technically completed, pending cost finalization. |
| Closed | – | All costs posted, history frozen. |
| Cancelled | – (may reactivate as Draft) | Rejected or unnecessary. |

- The system must enforce state transitions based on user roles (e.g., only Supervisor may Close).

#### 3.3.3 Work Order Details & Operations

- Header: WO Number (auto, configurable prefix), Type, Priority, Status, Equipment/Functional Location (mandatory), Description, Reported By, Responsible Work Center, Assigned Supervisor, Basic Start/Finish dates (planned & actual), Breakdown flag, Safety critical flag.

- Operations (Tasks): Each WO must contain at least one operation. For each operation: sequence number, description, craft required, planned hours, number of technicians, actual hours (entered by technician), status (Pending, In Progress, Completed).

- Notes: Rich-text long text field for job instructions, safety notes, and completion remarks.

#### 3.3.4 Material Planning & Consumption

- Planned materials: user can select items from material catalog, specify planned quantity. System must calculate planned material cost.

- Actual consumption: technician records actual quantity used against each planned material line. If an ad-hoc material is used, a new line can be added.

- Material issue entries must deduct from stock if inventory is managed; otherwise, they simply capture cost.

- Vendor must implement a material reservation concept to indicate intent to withdraw from store.

#### 3.3.5 Labour Recording

- Technicians must be able to log their time against a work order operation (start/end time or total hours) via web or mobile.

- Actual labour cost = hours × craft rate (from work center master).

- Multiple technicians can log time against the same operation.

- Technician identification via login; time entries stamped with user and timestamp.

#### 3.3.6 External Services & Other Costs

- Ability to enter external service entries (contractor name, service description, cost, invoice reference).

- Additional miscellaneous costs (travel, permits) as line items.

#### 3.3.7 Safety Permits & Checklists

- For each work order, optionally attach one or more checklist templates (e.g., Lockout-Tagout, Confined Space Entry).

- Checklists are simple forms with a list of steps, each with a Yes/No/NA and comment field.

- The WO cannot be set to “In Progress” unless all mandatory safety checklists are acknowledged by the responsible technician (sign-off via electronic signature).

#### 3.3.8 Attachments, Comments & Audit Trail

- Any file type may be attached (photos, PDFs) up to 10 MB per file.

- Threaded comments visible in the WO detail view, posted by any participant.

- Complete audit log recording: user, timestamp, action (e.g., status change, field modification old/new value).

### 3.4 Preventive Maintenance

#### 3.4.1 Maintenance Plans & Strategies

- Define a maintenance plan with: Plan Code, Description, Equipment/Functional Location (can be one equipment or a list), Work Center, Task List template, Priority, associated Notifications (if any).

- Strategy: Time-based, Meter-based, or a combination (whichever due first).

#### 3.4.2 Scheduling

- Time-based: interval in days/weeks/months, with a fixed start date and optional end date.

- Meter-based: meter associated with the equipment (e.g., running hours), with an interval value (e.g., every 500 hours). Support for multiple meters per plan.

- Call Horizon: a user-defined number of days/meter units ahead of the due date during which the system will automatically generate the notification or work order (e.g., 7 days ahead).

- Seasonal/exclusion dates: ability to blackout specific periods (e.g., plant shutdown) where generation is suppressed or shifted.

#### 3.4.3 Automatic Generation

- A background scheduler (or service) must run daily (configurable) and evaluate all active maintenance plans.

- When due date (factoring call horizon) is reached, the system creates a Work Order (status Draft or Planned, configurable) populated from the plan’s task list.

- If a plan has an associated notification, it must also create the notification and link them.

- Generation must be idempotent (no duplicate WO if due date remains inside horizon).

### 3.5 Cost Management

#### 3.5.1 Planned vs. Actual Cost Tracking

- At WO header level, calculate and display:

  - Planned Cost = sum(planned labour hours × craft rate) + sum(planned materials × standard cost) + planned services + other planned costs.

  - Actual Cost = sum(actual labour hours × craft rate) + sum(actual materials cost) + actual service invoices + other actuals.

- Variance (Actual – Planned) must be shown in reports.

#### 3.5.2 Cost Components

All costs must be tagged with a Cost Center and optionally an internal order (fields on WO header). The system shall support cost splitting if WO covers multiple cost centers (percentage allocation).

#### 3.5.3 Cost Reporting Dimensions

Costs must be summarizable by:

- Functional location hierarchy (roll-up to any level)

- Equipment

- Work Order type

- Time period (year, quarter, month)

- Cost Center

### 3.6 History, Logs & Audit

- Work Order History: complete snapshot of WO at each major status change, stored as immutable records.

- Equipment Maintenance History: chronological list of all work orders performed on an equipment, with key details (date, type, cost, downtime).

- General Change Log: every create/update/delete on master data and transactions must be logged in a dedicated audit table, including IP address and user. The log must be searchable and non-editable.

### 3.7 Reporting & Dashboards

#### 3.7.1 Standard Reports (minimum)

All reports must allow filtering by date range, location, equipment, work center, and must be exportable to PDF and Excel (raw data).

- Work Order Backlog – Count and total estimated hours by status, priority, work center.

- PM Compliance – (Completed PMs / Scheduled PMs) × 100 for a given period.

- MTBF (Mean Time Between Failures) – per equipment, based on breakdown work orders.

- MTTR (Mean Time To Repair) – average repair duration, per equipment/location.

- Maintenance Cost Summary – Actual vs. budget by cost center/location.

- Equipment Downtime Report – Total downtime hours per equipment, derived from emergency/corrective WO durations.

- Material Consumption Report – By material, WO, equipment.

#### 3.7.2 KPI Dashboards

A home page dashboard with at least the following widgets, with real-time data, drill-down capability:

- Open Work Orders by Status (pie/bar)

- Overdue Work Orders (counter)

- Backlog Hours by Work Center

- PM Compliance Gauge

- Top 10 Highest-Cost Equipment

- Notifications Awaiting Conversion

#### 3.7.3 Ad-hoc Reporting (Optional but desirable)

Vendor may propose an integrated ad-hoc query builder; otherwise, provide a documented view/stored procedure layer for customer’s BI tool.

### 3.8 Alerts & Notifications (System-Generated)

- Email/In-app notifications for:

  - WO assignment to technician/supervisor.

  - Overdue work orders (not completed by due date).

  - PM generation failure.

  - New high-priority notification raised.

- Configuration by role/user to opt in/out of specific alert types.

### 3.9 Mobile Access Requirements

- The system must provide a responsive web interface that functions seamlessly on tablets and smartphones (iOS, Android) without installing any additional software.

- A dedicated mobile app is optional but may be proposed as an alternative.

- Mobile-specific features:

  - Camera access to attach photos to notifications/work orders.

  - Offline capability for labour entry (data synced when connectivity restored).

  - Digital signature capture for checklists and work completion.

### 3.10 Integration Points

- ERP Integration: The CMMS must be able to consume and push data via REST APIs. At a minimum:

  - Import/update Equipment and Functional Location master from ERP.

  - Export actual material consumption for financial posting.

  - Export labour hours to HR/payroll system (if required).

- Vendor shall provide a published, well-documented REST API for all entities, enabling the Client’s integration team to connect other systems (SCADA, IoT, procurement). API must use JSON, OAuth2 authentication, and include bulk endpoints for master data.

## 4. NON-FUNCTIONAL REQUIREMENTS

### 4.1 Performance & Scalability

- Support up to 200 concurrent users with acceptable response time (screen load < 2 seconds, transactional save < 1 second).

- Database must handle 500,000 work orders and 100,000 equipment records without degradation.

- Architecture must allow horizontal scaling (web tier and API tier stateless).

### 4.2 Security & Access Control

- All communication encrypted via HTTPS (TLS 1.2+).

- Passwords hashed (bcrypt/PBKDF2), account lockout after 5 failed attempts.

- Session timeout after 30 minutes of inactivity.

- Data access control at row level if multi-site/cost center separation is required (optional, to be determined during requirements validation).

### 4.3 Data Integrity, Backup & Recovery

- Database must support full, differential, and transaction log backups.

- RPO (Recovery Point Objective) < 1 hour.

- RTO (Recovery Time Objective) < 4 hours.

- Soft delete approach: all “deletions” are logical (IsDeleted flag), except for audit log purging, which must be configurable retention (default 7 years).

### 4.4 Usability & Accessibility

- Interface must follow modern UX principles, be keyboard-navigable, and meet WCAG 2.1 Level AA wherever possible.

- Multi-language support (English required, Arabic desirable as a configurable option). Text resources must be externalized for future translation.

### 4.5 Regulatory & Standards Compliance

- The data model for equipment and maintenance records should align with ISO 14224 (Petroleum, petrochemical and natural gas industries — Collection and exchange of reliability and maintenance data).

- Work order approvals must support 21 CFR Part 11 compliant electronic signatures (user ID, password re-authentication, signature meaning).

### 4.6 System Availability

- Target 99.5% availability during business hours (07:00–19:00, Sunday–Thursday).

- Planned maintenance windows must be agreed in advance.

## 5. TECHNICAL ARCHITECTURE & DATABASE DESIGN

### 5.1 High-Level Architecture

Multi-tier web application:

- Presentation Tier: Single-page application (SPA) framework (Angular, React, or Vue) consuming REST APIs.

- Application/API Tier: Stateless backend services (Java Spring Boot, .NET Core, or Node.js) implementing business logic.

- Data Tier: Relational database (PostgreSQL or Microsoft SQL Server) with full audit support.

- Background Service: Separate process for PM scheduling, email notifications, report generation.

### 5.2 Technology Stack (Recommended, Vendor-Neutral)

The Vendor may propose a specific stack provided it meets the following minimums:

- Backend: .NET 8+ / Java 17+ / Node.js 20 LTS

- Frontend: Angular 16+ / React 18+ with TypeScript

- Database: PostgreSQL 15+ or MS SQL Server 2022+

- Mobile: Responsive PWA or native (Flutter/React Native)

- Reporting: Embedded reporting engine (e.g., JasperReports, DevExpress) or SQL views for external BI.

- Source Control: Git, with full commit history delivered.

### 5.3 Database Design (Key Tables & Relationships)

The Vendor must implement a normalized database schema that, at a minimum, includes the following tables. All tables shall carry standard columns: CreatedBy, CreatedDate, ModifiedBy, ModifiedDate, IsDeleted. Audited tables must have corresponding AuditLog entries.

Table: FunctionalLocation

- FunctionalLocationID (PK), LocationCode (unique), Description, ParentLocationID (FK self), LocationType, OperationalStatus, InstallationDate, etc.

Table: Equipment

- EquipmentID (PK), EquipmentCode (unique), Name, Description, FunctionalLocationID (FK), Manufacturer, Model, SerialNumber, EquipmentClass, Criticality, InstallationDate, WarrantyExpiryDate, OperationalStatus.

Table: EquipmentMeter

- MeterID (PK), EquipmentID (FK), MeterName, UnitOfMeasure, LastReading, LastReadingDate.

Table: WorkCenter

- WorkCenterID (PK), Code, Name, DailyCapacityHours, CostRatePerHour, IsActive.

Table: Craft

- CraftID (PK), WorkCenterID (FK), CraftCode, Description, HourlyRate.

Table: Notification

- NotificationID (PK), NotificationNumber, Type, Priority, FunctionalLocationID (FK), EquipmentID (FK nullable), ReportedByUserID (FK), Description, BreakdownFlag, Status, CreatedDate.

Table: WorkOrder

- WorkOrderID (PK), WONumber, Type, Priority, Status, FunctionalLocationID (FK), EquipmentID (FK nullable), Description, WorkCenterID (FK), SupervisorUserID (FK), PlannedStart, PlannedFinish, ActualStart, ActualFinish, CostCenterCode, InternalOrder, BreakdownFlag, SafetyCriticalFlag, PlannedCost, ActualCost.

Table: WorkOrderOperation

- OperationID (PK), WorkOrderID (FK), Sequence, Description, CraftID (FK), PlannedHours, NumberOfTechnicians, ActualHours, Status.

Table: WorkOrderMaterial

- WOMaterialID (PK), WorkOrderID (FK), MaterialID (FK), PlannedQuantity, ActualQuantity, UnitCost.

Table: LaborEntry

- LaborEntryID (PK), OperationID (FK), UserID (FK), HoursWorked, EntryDateTime.

Table: ExternalServiceCost

- ServiceCostID (PK), WorkOrderID (FK), Vendor, Description, Cost, InvoiceRef.

Table: MaintenancePlan

- PlanID (PK), PlanCode, Description, EquipmentID (FK nullable), FunctionalLocationID (FK nullable), WorkCenterID (FK), TaskListID (FK), StrategyType (Time/Meter), IntervalValue, IntervalUnit, CallHorizonValue, CallHorizonUnit, StartDate, EndDate, ActiveFlag.

Table: MaintenancePlanMeter (for meter-based)

- PlanMeterID (PK), PlanID (FK), MeterID (FK), MeterInterval.

Table: TaskList & TaskListOperation (reusable templates)

Table: SafetyChecklistTemplate & WO_Checklist_Instance (for completed checklists)

Table: AuditLog

- AuditID (PK), TableName, RecordID, Action (Create/Update/Delete), FieldName, OldValue, NewValue, UserID, IPAddress, Timestamp.

(Note: This is a minimum set. Vendor may normalize further or add auxiliary tables as long as all functional requirements are met.)

### 5.4 API Specifications

- The system must expose a RESTful API for all CRUD operations on master data and work orders.

- Use standard HTTP methods (GET, POST, PUT, DELETE), JSON payloads.

- API versioning via URL path (e.g., /api/v1/).

- Bulk endpoints for Equipment, Functional Locations (POST /api/v1/equipment/bulk with JSON array).

- OData or similar filtering/pagination support for GET collections ($filter, $top, $skip).

- Detailed Swagger/OpenAPI 3.0 documentation to be delivered.

### 5.5 Authentication & Authorization

- Authentication via OAuth2 / OpenID Connect (support integration with Azure AD or on-premises Active Directory).

- JWT access tokens with refresh token rotation.

- All API calls must include a valid Bearer token.

- Authorization enforced on both frontend route and API endpoints using RBAC.

### 5.6 Deployment Architecture

- The system shall be delivered as Docker containers (compose file) for all components, allowing deployment on Linux or Windows.

- Provide Kubernetes manifests if customer requires orchestration (optional).

- The database may be on a dedicated VM/managed service; connection string configurable via environment variables.

- Environment-specific configuration via .env files or config maps.

### 5.7 Data Migration Strategy

- The Client will provide legacy data in Excel/CSV format (Equipment list, current open work orders, functional locations).

- Vendor must develop import tools (SQL scripts or API-based loader) to validate and load this data into the new system.

- A data migration run-book and a dry-run report are required before final cutover.

## 6. PROJECT DELIVERABLES

### 6.1 Software & Source Code

- Full source code of all components (frontend, backend, database scripts, migration tools) in a Git repository.

- Compiled/deployable artifacts (Docker images) and CI/CD pipeline scripts (if used).

- Database creation and seed data scripts.

### 6.2 Documentation

- System Architecture Document – describing all components, deployment diagram.

- Database Schema Document – ER diagram, data dictionary.

- API Documentation – Swagger/OpenAPI and integration guide.

- User Manual – step-by-step instructions for each role, with screenshots.

- Administrator Guide – system configuration, backup/restore, user management, PM scheduler setup.

- Installation & Deployment Guide – prerequisites, deployment steps, environment variables.

### 6.3 Training

- On-site or remote training sessions:

  - Administrator/IT (1 day) – deployment, configuration, troubleshooting.

  - Core Users (Planners, Supervisors) (2 days) – all modules, planning, reporting.

  - End Users (Technicians, Requesters) (1 day) – notifications, WO execution, mobile usage.

- Provide training materials (slides, handouts) and recorded sessions.

### 6.4 Acceptance Criteria

- All functional requirements listed in §3 are implemented and pass UAT scripts.

- All standard reports produce correct data verified against manual calculation.

- Performance test shows response times within §4.1 limits under simulated load of 100 concurrent users.

- No open Critical or Major defects at go-live.

- Data migration accuracy > 99.9% for master data; work orders historical statuses correctly mapped.

- Documentation delivered and training completed.